## Pozycje
ID |  | Oferta na: | [6 empty] | pl | pl
854150 |  | Water Conditioning Unit |  |  |  | Komentarz do całej oferty:
LP | ID | Kryterium | Opis | Twoja propozycja/komentarz
1 | 2776586 | Shipping costs | On the supplier's side, please confirm by typing "I accept" or indicate other in the offer
2 | 2776587 | Occupational Health and Safety and Environmental Requirements for Contractors/Subcontractors | Please attach a signed scan or electronically signed document
3 | 2776588 | Employee Relationship Management Requirements for Contractors/Subcontractors | Please attach a signed scan or electronically signed document
4 | 2776589 | Cost estimate with prices | Please attach a completed cost estimate
5 | 2776590 | Cost estimate WITHOUT PRICES | Please attach a cost estimate NOT INCLUDING PRICES
6 | 2776592 | DECLARATION - Business partner’s/Supplier’s Sanction Policy | Please attach a signed scan or electronically signed document
7 | 2776593 | Payment terms | Transfer 30 days - please confirm by entering "I accept" or enter your own in the offer
8 | 2776594 | Completion date | Please indicate the expected completion date
9 | 2776595 | General Terms and Conditions of Purchase of TELE-FONIKA KABLE S.A | Please confirm by typing "I accept" or attach your own terms and conditions
LP | ID | NAZWA TOWARU / USŁUGI | OPIS | ILOŚĆ | JM | Cena/JM | VAT | WALUTA
1 | 1559850 | Water Conditioning Unit | Water Conditioning Unit to Bydgoszcz Plant (Fordońska 152 Street). | 1 | szt. |  | 23% | PLN
Razem:
Załączniki do postępowania
LP | ID | Źródło | Nazwa załącznika
1 | 2776587 | Occupational Health and Safety and Environmental Requirements for Contractors/Subcontractors | Occupational Health and Safety and Environmental Requirements.docx
2 | 2776588 | Employee Relationship Management Requirements for Contractors/Subcontractors | Employee Relationship Management Requirements.docx
3 | 2776592 | DECLARATION - Business partner’s/Supplier’s Sanction Policy | Supplier's Sanction Policy.docx
4 | 2776595 | General Terms and Conditions of Purchase of TELE-FONIKA KABLE S.A | The_General_Terms_and_Conditions_of_Purchase TF KABLE.pdf
Warunki postępowania
<p><span id="docs-internal-guid-67db549f-7fff-b92e-f8c4-70aa96f2abcf"></span></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Dear </font></font> </p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">We invite you to submit an offer for&nbsp;</font></font><span lang="EN-US" style="font-size:11.5pt;font-family: &quot;Times New Roman&quot;,serif;mso-fareast-font-family:&quot;Arial Unicode MS&quot;;mso-ansi-language: EN-US;mso-fareast-language:EN-US;mso-bidi-language:AR-SA">the <strong>Water Conditioning Unit</strong>&nbsp;</span><font face="Cambria, serif"><font style="font-size: 11pt">through the following electronic form, subject to the following conditions: </font></font> </p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm">&nbsp;&nbsp;</p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm"> <br> </p><p class="Default"><u><span lang="EN-US">I . Technical Specifications:</span></u></p><p class="Default"><span lang="EN-US" style="font-size:11.5pt;mso-ansi-language: EN-US">1 . &nbsp;Operating conditions.<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Ambient temperature from 5 to 40 °C ,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Daily mean temperature °C ≤ 25°C ,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. relative humidity 90 % (no condensation),<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Height above sea level m ≤ 1000 (at higher altitude with reduced voltage),<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Ambient temperature for storage and transportation from - 10 to&nbsp; 50 °C ,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Installationindoor, stationary.<o:p></o:p></span></p><p class="Default"><span lang="EN-US" style="font-size:11.5pt;mso-ansi-language: EN-US">2. &nbsp;Main parameters.<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. cooling capacity 120 kW,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. temperature of deionized water 55 °C,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Conductivity range µS/cm form 0.1 to 2, controlled ± 0.01,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Ambient temperature from 2 to 35 °C ,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. relative humidity&nbsp; 95 %,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Water storage capacity l 500,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. length of hoses m 25 Requirements of coolingwater supply,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Min. flow rate of external cooling water l/min 180,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Min. pressure of cooling water 4.5 bar,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max. pressure of cooling water 10 bar,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Max temperature of cooling water &nbsp;20 °C,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Hose connection for external cooling unit inch 1,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Hose connection for terminations inch 1.<o:p></o:p></span></p><p class="Default"><span lang="EN-US" style="font-size:11.5pt;mso-ansi-language: EN-US">3 . Power supply. <o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">&nbsp;1NPE,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">&nbsp;230 V,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">16 A,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">50 Hz,<o:p></o:p></span></p><p class="Default"><span lang="EN-US" style="font-size:11.5pt;mso-ansi-language: EN-US">4. Dimensions (approx.)<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span lang="EN-US" style="font-size:11.5pt; mso-ansi-language:EN-US">Length mm 1400,<o:p></o:p></span></p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span style="font-size:11.5pt">Width mm 1200,</span><span lang="EN-US" style="font-size:11.5pt;mso-ansi-language:EN-US"><o:p></o:p></span></p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm"> </p><p class="Default" style="margin-left:36.0pt;text-indent:-18.0pt;mso-list:l0 level1 lfo1"><!--[if !supportLists]--><span lang="EN-US" style="font-size:11.5pt;font-family:Symbol;mso-fareast-font-family: Symbol;mso-bidi-font-family:Symbol;mso-ansi-language:EN-US">·<span style="font-variant-numeric: normal; font-variant-east-asian: normal; font-variant-alternates: normal; font-kerning: auto; font-optical-sizing: auto; font-feature-settings: normal; font-variation-settings: normal; font-variant-position: normal; font-stretch: normal; font-size: 7pt; line-height: normal; font-family: &quot;Times New Roman&quot;;">&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp;&nbsp; </span></span><!--[endif]--><span style="font-size:11.5pt">Height mm 1600.</span></p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><br></font></font></p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt"><u>The offer should include the following data:</u></font></font></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><ol> <li value="1"><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Technical details of the service (goods) offered. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">The price broken down into individual components. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">An offer validity date of not less than 60 days.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Deadline.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">Shipping costs to:&nbsp;</font></font>Tele-Fonika Kable S.A. Bydgoszcz , Fordońska 152 Street, POLAND.</p></li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">The period and conditions of the warranty. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Payment terms.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Other criteria and terms listed below.</font></font></p> </li></ol><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>The Ordering Party requires from the Tenderer, whose </u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u><strong>OFFER WILL BE SELECTED</strong></u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>, to submit securities in the form bank or insurance guarantee (the guarantee should be irrevocable and unconditional and should be payment on the first written demand):</u></font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><ol type="a"> <li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">advance payment guarantee (In the event of advance payment, the Tenderer is obliged to submit bank or insurance advance payment guarantee for all and full advance payments that were already paid in the ratio of 1:1, valid until the delivery of the Subject Matter of the Order)</font></font></font></p> </li><li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">warranty for removing defects and faults in the form and with the content approved by the Contracting Entity.</font></font></font></p> </li></ol><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">A model of guarantee needs to be accepted by the Contracting Entity. </font></font></font> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The Tenderer shall be obliged to have Civil Liability Insurance covering business activity for the insurance sum of not less than a minimum order value. </font></font></font> </p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>The Contractor, whose </u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u><strong>OFFER WILL BE SELECTED</strong></u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>, will be obliged to provide the following documents before concluding the contract:</u></font></font></font></p><ol> <li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">Power of attorney to conclude contracts on behalf of the contractor, unless it results from the registration documents;</font></font></font></p> </li><li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">A dedicated third-party liability insurance policy in the scope of business activity and the subject of the contract for the sum insured not less than the value of the order. </font></font></font> </p> </li></ol><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The above condition is considered to be fulfilled if the Contractor submits a certified copy of the insurance policy valid for the entire term of the contract.</font></font></font></p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>Compliance with legal and health and safety requirements depending on the specifics of the offer:</u></font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The Tenderer is obliged to meet / ensure all legal requirements that are related to the offered</font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">equipment or service.</font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The tenderer is obliged to fulfil the sanction clause attached to the request for proposal.</font></font></font></p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">If meeting legal or health and safety requirements involves a higher bid amount, this must be specified.</font></font></font></p><p align="justify" style="line-height: 100%; margin-bottom: 0cm"><span style="display: inline-block; border: none; padding: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><span lang="en-GB"><strong>Please note that the tender procedure may end with the failure to select the offer in the following cases: </strong></span></font></font></span> </p><p align="justify" style="line-height: 100%; margin-bottom: 0cm"><span style="display: inline-block; border: none; padding: 0cm"><font face="Cambria, seri