## Pozycje
ID |  | Oferta na: | [6 empty] | pl | pl
866348 |  | Water termination (Tele-Fonika Kable S.A. in Bydgoszcz) |  |  |  | Komentarz do całej oferty:
LP | ID | Kryterium | Opis | Twoja propozycja/komentarz
1 | 2815738 | Occupational Health and Safety and Environmental Requirements for Contractors/Subcontractors | Please attach a signed scan or electronically signed document
2 | 2815739 | Employee Relationship Management Requirements for Contractors/Subcontractors | Please attach a signed scan or electronically signed document
3 | 2815740 | Cost estimate with prices | Please attach a completed cost estimate
4 | 2815743 | DECLARATION - Business partner’s/Supplier’s Sanction Policy | Please attach a signed scan or electronically signed document
5 | 2815744 | Payment terms | Transfer 30 days - please confirm by entering "I accept" or enter your own in the offer
6 | 2815745 | Completion date | Please indicate the expected completion date
7 | 2815746 | General Terms and Conditions of Purchase of TELE-FONIKA KABLE S.A | Please confirm by typing "I accept" or attach your own terms and conditions
8 | 2815747 | Non-Disclosure Agreement | Please confirm by typing "I accept" or attach your own NDA
LP | ID | NAZWA TOWARU / USŁUGI | OPIS | ILOŚĆ | JM | Cena/JM | VAT | WALUTA
1 | 1581387 | Water termination 250 kV | Manufacture and delivery of 250 kV water terminations in accordance with the requirements | 1 | szt. |  | 23% | PLN
Razem:
Załączniki do postępowania
LP | ID | Źródło | Nazwa załącznika
1 | 2815738 | Occupational Health and Safety and Environmental Requirements for Contractors/Subcontractors | Occupational Health and Safety and Environmental Requirements.docx
2 | 2815739 | Employee Relationship Management Requirements for Contractors/Subcontractors | Employee Relationship Management Requirements.docx
3 | 2815743 | DECLARATION - Business partner’s/Supplier’s Sanction Policy | Supplier's Sanction Policy.docx
4 | 2815746 | General Terms and Conditions of Purchase of TELE-FONIKA KABLE S.A | The_General_Terms_and_Conditions_of_Purchase TF KABLE.pdf
5 | 2815747 | Non-Disclosure Agreement | CONFIDENTIALITY_AGREEMENT.docx
Warunki postępowania
<p><span id="docs-internal-guid-67db549f-7fff-b92e-f8c4-70aa96f2abcf"></span></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Dear Sirs,</font></font></p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">We invite you to submit an offer for the items listed for the manufacture and delivery of 250 kV water terminations for testing cables for our plant Tele-fonika Kable S.A.&nbsp; located in Bydgoszcz, Fordońska 152 street through the following electronic form, subject to the following conditions: </font></font> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><br></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><u>tests enabled by the water terminations:</u></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">- tests with the AC test voltage;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">- checking the level of partial discharges during the test with the AC test voltage;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">- tests with the level test voltage.</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><br></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">The delivered device should have the functionalities and technical parameters indicated below:</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">a) within 30 days of signing the contract, the Constractor shall deliver the preliminary technical documention of the water termination systems for cable testing;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">b) water termination systems must be functional of performing voltage tests with the declared parameters;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">c) systems must be suitable for continuous operation;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">d) all kinds of standard parts (bolts, nuts, etc.) used in the construction of water termination must be made in the metric system;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">e) systems must have all the necessary components for the installation of the service;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">f) all materials and tools needed to assamble the test water termination systems are provided by the Supplier;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">g) water termination systems should be delivered with technical documentation on paper (2 copies) and electronic version;</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">h) systems should have declarations with all EU Directives to which they are subject.</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><br></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">If a normative document is referred to in a given requirement, it means that the Bidder declares compliance with the version of the document valid as at the date of submitting the offer.</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><br></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><u><strong>Technical parameters - set of heads 400 kV:</strong></u></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">- rated voltage - 250 kV (RMS);</font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt">- operating voltage frequency - 50 Hz/surges 1,2/50</font><span style="font-size: 14.6667px;">μ;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">- partial discharge level PD (Un.pC);</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">- operating temperature - max. 60 degrees C;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">- maximum pressure - max. 4 atm.;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">- maximum diameter of the insulated conductor of the test cable - max. 133 mm;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">- cooling medium - demineralized water.</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;"><br></span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">Achievement of the required technical parameters and functionality for the water termination systems will be verified on the basis of acceptance tests performed after the delivery and start-up of the subject of the order. Acceptance tests will be performed in accordance with the listed technical parameters, technical documentation and other technical standards.</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;"><br></span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;"><u><strong>Acceptance tests for probe water termination systems:</strong></u></span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">a) checking the completeness of technical documentation and manuals;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">b) checking whether the test head systems have a complete declaration of conformity with all applicable divectives;</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;">c) checking the operation of the water termination system in the entire voltage range and the requirements for the declared level of partial discharges.</span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm"><font face="Cambria, serif"><span style="font-size: 14.6667px;"><br></span></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm">&nbsp;<br></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm"> <br> </p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">The offer should include the following data:</font></font></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><ol> <li value="1"><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Technical details of the service (goods) offered. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">The price broken down into individual components. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">An offer validity date of not less than 60 days.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Deadline.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">The period and conditions of the warranty. </font></font> </p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Payment terms.</font></font></p> </li><li><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font face="Cambria, serif"><font style="font-size: 11pt">Other criteria and terms listed below.</font></font></p> </li></ol><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>The Ordering Party requires from the Tenderer, whose </u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u><strong>OFFER WILL BE SELECTED</strong></u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>, to submit securities in the form bank or insurance guarantee (the guarantee should be irrevocable and unconditional and should be payment on the first written demand):</u></font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><ol type="a"> <li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">advance payment guarantee (In the event of advance payment, the Tenderer is obliged to submit bank or insurance advance payment guarantee for all and full advance payments that were already paid in the ratio of 1:1, valid until the delivery of the Subject Matter of the Order)</font></font></font></p> </li><li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">warranty for removing defects and faults in the form and with the content approved by the Contracting Entity.</font></font></font></p> </li></ol><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">A model of guarantee needs to be accepted by the Contracting Entity. </font></font></font> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The Tenderer shall be obliged to have Civil Liability Insurance covering business activity for the insurance sum of not less than a minimum order value. </font></font></font> </p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>The Contractor, whose </u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u><strong>OFFER WILL BE SELECTED</strong></u></font></font></font><font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>, will be obliged to provide the following documents before concluding the contract:</u></font></font></font></p><ol> <li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">Power of attorney to conclude contracts on behalf of the contractor, unless it results from the registration documents;</font></font></font></p> </li><li><p lang="en-US" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">A dedicated third-party liability insurance policy in the scope of business activity and the subject of the contract for the sum insured not less than the value of the order. </font></font></font> </p> </li></ol><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The above condition is considered to be fulfilled if the Contractor submits a certified copy of the insurance policy valid for the entire term of the contract.</font></font></font></p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt"><u>Compliance with legal and health and safety requirements depending on the specifics of the offer:</u></font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The Tenderer is obliged to meet / ensure all legal requirements that are related to the offered</font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">equipment or service.</font></font></font></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">The tenderer is obliged to fulfil the sanction clause attached to the request for proposal.</font></font></font></p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <font color="#000000"><font face="Cambria, serif"><font style="font-size: 11pt">If meeting legal or health and safety requirements involves a higher bid amount, this must be specified.</font></font></font></p><p align="justify" style="line-height: 100%; margin-bottom: 0cm"><span style="display: inline-block; border: none; padding: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><span lang="en-GB"><strong>Please note that the tender procedure may end with the failure to select the offer in the following cases: </strong></span></font></font></span> </p><p align="justify" style="line-height: 100%; margin-bottom: 0cm"><span style="display: inline-block; border: none; padding: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><span lang="en-GB"><strong>- insufficient funds for the execution of the contract, </strong></span></font></font></span> </p><p align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font face="Cambria, serif"><font style="font-size: 11pt"><span lang="en-GB"><strong>- changes in the Ordering Party's demand.</strong></span></font></font></span></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><strong><font face="Cambria, serif">The Ordering Party allows for the possibility of negotiating financial, commercial and commercial terms.</font></strong></font></span></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><strong><font face="Cambria, serif">In the case of:</font></strong></font></span></p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><font face="Cambria, serif">-substantive questions, please contact <strong>Mr. Michał Kosik email: michal.kosik@tfkable.com tel. +48 667 783 806</strong> or via the "</font></font><font style="font-size: 11pt"><strong><font face="Cambria, serif">Send a message to the Ordering Party</font></strong></font><font style="font-size: 11pt"><font face="Cambria, serif">" button</font></font></span></p><p lang="en-GB" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"><br></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><font face="Cambria, serif">- questions related to the operation of the purchasing platform, please contact the Open Nexus Customer Support Center open from Monday to Friday on working days, from </font></font><font style="font-size: 11pt"><strong><font face="Cambria, serif">8:00</font></strong></font><font style="font-size: 11pt"><font face="Cambria, serif"> a.m. to </font></font><font style="font-size: 11pt"><strong><font face="Cambria, serif">5:00 p.m</font></strong></font><font style="font-size: 11pt"><font face="Cambria, serif">., tel. 22 101 02 02, e-mail: </font></font><a href="mailto:cwk@platformazakupowa.pl"><font face="Cambria, serif"><font style="font-size: 11pt"><u>cwk@platformazakupowa.pl</u></font></font></a><font style="font-size: 11pt"><font face="Cambria, serif"> </font></font></span> </p><p lang="en-US" class="western" style="line-height: 100%; margin-top: 0.49cm; margin-bottom: 0.49cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm">&nbsp;</span></p><p lang="en-US" class="western" align="justify" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><strong><font face="Cambria, serif">We would like to point out that the official confirmation of the execution of the order by the Ordering Party is the sending of the order or signing the contract.</font></strong></font></span></p><p lang="en-GB" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <br> </p><p lang="en-US" class="western" style="line-height: 100%; margin-bottom: 0cm; border: none; padding: 0cm"> <span style="display: inline-block; border: none; padding: 0cm"><font style="font-size: 11pt"><em><font face="Cambria, serif">The messages from the Open Nexus have purely informative character.</font></em></font></span></p><p dir="ltr" style="line-height:1.38;margin-top:0pt;margin-bottom:0pt;"> </p><p lang="en-GB" style="line-height: 100%; margin-bottom: 0cm"><br> </p>